## Slide 1: OCP Hardware Management
Dongup Kwon
Dept. of CSE, POSTECH
nankdu7@postech.ac.kr
2016. 9. 28

## Slide 2: Outline
Hardware Management
Open Hardware Management
Problems of Legacy Hardware Management
OCP
  Firmware Lifecycle
  Events, Alerts, Logs
  Remote Hardware Management
  Strategic Enabling Technology

## Slide 3: Hardware Management
Scale Computing
  Large-scale computing environment (e.g., data centers and clouds)
  Include many different machines, components, and software
Hardware Management
  Managing firmware that makes machines run
  Alerting about machine health
  Discovering machine resources
  Accessing machines remotely

## Slide 4: Open Hardware Management
Open hardware management
  Provide uniform management of firmware, alerting of hardware events, and remote hardware access
  Focus on process automation and scalability by leveraging existing open standards
Project Chairs
  Rajeev Agrawala (Goldman Sachs)
  Badriddine Khessib (Microsoft)

## Slide 5: Problems of Legacy Hardware Management
Flexibility
  inability to deploy firmware fixes and configuration changes quickly and at scale
Compatibility
  Instabilities due to many versions of firmware in different combinations
Agility
  Lack of agility caused by having to integrate new tools into existing hardware management environments
Scalability
  Management tools are vendor specific and often do not scale to many tens of thousands of machines

## Slide 6: Sub-Areas
Firmware Lifecycle
  To provide a uniform interface to independently deploy and update firmware and configurations
Events, Alerts, Logs
  Standard way for OCP machines to produce and format machine event and logs
Remote Management
  Consistent way to remotely explore a machine configuration and perform systems operations such as reboot and open a remote console

## Slide 7: Sub-Areas
Strategic Technologies:
  To follow and encourage exploration of products and standards of potential benefit for future Open Compute specifications
    Survey of alternative system management
    Integration with data center building management systems

## Slide 8: Firmware Lifecycle
Instable machine and firmware combinations
  Between firmware on motherboards and components (e.g., conflicts between BIOS and NIC firmware)
  Between firmware and OS (i.e., BIOS version and Linux version)
Approach
  All components with firmware (e.g., motherboards, NICs, PCI SSDs, RAID controllers)
  Development architecture and requirements for the firmware configuration, deployment, updating

## Slide 9: Firmware Lifecycle
Approach
  Specify management frameworks/APIs/interfaces for providing services to integrate with their products
  Need to be deliverable through a centralized server via the network
  Need to be changeable with or without an OS running

## Slide 10: Events, Alerts, Logs
Providing reliable and standard ways for automation of knowledge of a standard machine condition
  Event: a recorded machine state change
  Alert: an urgent notification of event
  Log: a collection of events
Examples
  Simple network management protocol (SNMP): A IP-based standard protocol for collecting and managing devices

## Slide 11: Events, Alerts, Logs
Approach
  Define consistent event numbers and associated text format
  Leverage SNMP/syslog (existing standards) for base functionality
  Standardize the machine events (consistent event messages)
  Accommodate both in-band and out-of-band agents
  Define mechanisms to validate and secure notification transports

## Slide 12: Remote Hardware Management
Large-scale environments requires a way to perform operations remotely
  Remote power on/off
  Remote console (graphical console)
  Discover a machine’s hardware/firmware configuration
  Basic authentication
Approach
  Provide a uniform interface and performance
  Identify gaps between requirements and existing standards providing commands and API/interfaces

## Slide 13: Strategic Enabling Technology
Providing a richer management network and stronger integration with external systems
  increasing efficiency and easing management
Approach
  Investigate alternatives with various Open Compute design tracks
  Coordinate with OCP Data Center to integrate into their data center information management systems (DCIM)

## Slide 14: Current State
Draft of Hardware Management Specifications for IPMI
Draft of the Open Hardware Machine Management Specifications v1.01
  About remote hardware management

## Slide 15: Reference
http://www.opencompute.org/wiki/Hardware_Management/SpecsAndDesigns