## Slide 1: OCP Storage
Jae-Hyeon Park
Dept. of CSE, POSTECH
parkeric3@postech.ac.kr
2016. 9. 27

## Slide 2: Outline
Overview
Specification standard
Specification examples
  Open Vault
  Cold Storage
  OpenNVM
  Fusion-io
  Hyve

## Slide 3: Overview
Mission
  Creating specifications and software to enable new storage application
Target
  Open Rack compatible storage chassis and sleds
  EIA 310-D/E 19’’ rack compatible
  Different vendor components and peripherals

## Slide 4: Specification Standard
Storage interfaces
  SAS, SATA, PCIe, NIC
Electrical interfaces
  Voltages, power, frequencies
Mechanical interfaces
  Form factors, xyz heights, keep-in and keep-outs
Manageability
  Rock-solid management solutions with full-documents
Debug
  Hooks and repair
Test framework
  For developers

## Slide 5: Open Vault
Simple and cost-effective storage solution
  2U 30 3.5 ’’ HDD

## Slide 6: Open Vault

## Slide 7: Open Vault

## Slide 8: Cold Storage
Cold-data
  Is stored on disk but almost never read again
    ex) legal data, backups of third copies
Designed as bulk load fast archive
  Using power off HDDs
  Modification of storage unit based on Open Vault
  Connected with SAS
  Redefined topology for networking switch deployment
  Custom Open Rack

## Slide 9: Cold Storage

## Slide 10: OpenNVM
Open-source project for non-volatile memory (ex: flash memory)
  Developer can make their applications flash-aware
Functions
  Flash-aware Linux swap
    When working set exceeds the capacity of DRAM then demand page from flash-aware virtual memory
  Key-value interface to flash
    Faster NoSQL databases, Automatic garbage collection
  Flash programming primitives
    Support journal-less update

## Slide 11: Others
Fusion-io
  3.2 TB I/O PCI express card
    Designed for high capacity and small size
Hyve
  Design concept of 2xOpenU storage server
    Accommodate 15 3.5’’ drives arranged in a 3 x 5 arrays
  Compatible with Open Rack

## Slide 12: Reference
Project wiki
  http://www.opencompute.org/wiki/Storage
Open Vault specification
  http://files.opencompute.org/oc/public.php?service=files&t=ce5002840b137d6365b398e14c8c2774
Cold storage specification
  http://files.opencompute.org/oc/public.php?service=files&t=fe369c02b049394b5d94b44e084aceb6
OpenNVM
  https://opennvm.github.io/